GBI Insulation                      _______________safety program

5.0   FIRE PREVENTION/PROTECTION

5.1 Purpose

This Fire Prevention Program is in place at this Company to control and reduce the possibility of fire and to specify the type of equipment to use in case of fire. This Program lists the following information:

•    Major workplace fire hazards and their proper handling and storage procedures -Potential ignition sources for fires and their control procedures,

•    The type of fire protection equipment or systems which can control a fire involving them

•    Regular job titles of personnel responsible for maintenance of equipment and systems installed to prevent or control ignition of fires and for control of fuel source hazards.

5.2 Housekeeping-Related Hazards

It is the intent of this Company to assure that hazardous accumulations of combustible waste materials are controlled so that a fast developing fire, rapid spread of toxic smoke, or an explosion will not occur. This does not necessarily mean that each room has to be swept each day. Employees are to be made aware of the hazardous properties of materials in their workplaces, and the degree of hazard each poses.

Certainly oil soaked rags have to be treated differently than general paper trash in office areas. In addition, large accumulations of waste paper or corrugated boxes, etc., can pose a significant fire hazard. Accumulations of materials, which can cause large fires or generate dense smoke that are easily ignited or may start from spontaneous combustion, are the types of materials with which this Fire Prevention Program is concerned. Combustible materials may be easily ignited by matches, welder's sparks, cigarettes and similar low-level energy ignition sources. It is the intent of this Company to prevent such accumulation of materials.

5.2.1    Maintenance of Equipment

Certain equipment and tools such as air compressors and extension cords (as examples) are often used in construction could be a source of heat or ignition. To prevent fires it is important to detect and repair fuel leaks or to properly space any ignition source from any form of fuel. An example is a temperature limit switch often found on deep-fat food fryers found in restaurants. There may be similar switches, such as, for air compressors, or flame failure and flashback arrester devices on furnaces and similar heat producing equipment. If these devices are not properly maintained or if they become inoperative, a definite fire hazard exists. Again employees and supervisors should be aware of the specific type of control devices on equipment involved with combustible materials in the workplace and should make sure, through periodic inspection or testing, that these controls are operable. Power tools such as Drills, grinders and Fuel powered tools or equipment are other sources for ignition. Hot work procedures must be followed to prevent fires. Manufacturer's recommendations should be followed to assure proper maintenance procedures of all equipment and tools.

5.3 Ignition Sources and Fire Protection

The following table lays out some known ignition sources at this Company and their control procedures:

Circular Saws	Keep 25' from heat source.
Drills                                                                           Keep 25' from heat source.

Page 5-1

GBI Insulation	safety program

Phosphorous	Awareness.

Fire protection equipment in use at this Company by authorized personnel includes A, B, and C, and ABC extinguishers, to protect from the various types of fire hazards.

Type of Fire	Type of Extinguisher

A, combustibles like wood, paper, etc	A or ABC, water or dry chemicals

B, flammable liquids, gases and greases	B or ABC, foam, carbon dioxide, dry chemicals

C, electrical fires	C or ABC, non-conducting agent such as carbon

dioxide and dry chemicals

D, combustible metals such as titanium and sodium     This Company does not store any of these on-site.

This type of fire calls for specialized techniques for which the fire department will be called or plant fire brigade.

5.4 Responsible Person List

This is the list of regular job titles of personnel responsible for maintenance of equipment and systems installed to prevent or control ignition of fires:

•    Project Manager - Responsible for choosing appropriate/adequate system, maintenance of equipment and systems installed to prevent or control ignition of fires.

•    Project Manager - Responsible for overall operations.

•    Project Manager - Responsible for overall reduction of fuel hazards in the operations.

•    Supervisor - Responsible for oversight of housekeeping duties that reduce and control fuel source hazards such as accumulation of flammable and combustible materials such as trash, oily rags, or any other fire hazard in all work areas.

•    Employee - Responsible for housekeeping duties that reduce and control fuel source hazards such as accumulation of flammable and combustible material such as trash, oily rags, or any other fire hazard in the work areas.

5.5 Housekeeping Procedures

The Company controls accumulations of flammable and combustible waste materials and residues so that they do not contribute to a fire emergency. The housekeeping procedures are included in the written fire prevention Program.

Page 5-2