GBI Insulation                          _______________safety program

7.0   FALL PREVENTION/PROTECTION

7.1 Purpose

It is the policy of this Company to permit only employees trained in fall protection procedures to work in areas where fall hazards occur, to reduce likelihood of fall accidents and to help ensure a safe workplace.

7.2 List Affected Areas

List all areas with fall hazards, the type of fall hazard in the area, and inform the employees who are affected by the fall hazard. This information may be developed during a pre-work task or work evaluation documented on a "Job Planning and Safety Analysis Report" (JPSA) and communicated to the employees by their Foreman.   Examples are as follows:

Area	Type of Fall Hazard                       Affected Employees

Roof Top	Edge of Roof                                   Roofers/Carpenters/Others
Portable Ladders                            Maintenance Use                            Maintenance Personnel
Stairwells                                        Slipping, Tripping                           All Employees
Other

7.3 Pre-Work Fall Prevention Check

Prior to beginning work in any area or on any device where fall hazards may exist, the following checks must be done; and addressed in the JPSA:

7.3.1   Stairs

•	All required covers or guardrails must be in place.

•	All handrails or guardrails are in place on stairways.

•	All treads and risers on stairs are in good repair.

•	Non-slip surfaces are in place on stairs.

•	All stairs in this facility meet OSHA and ANSI specifications for design and safety

7.3.2   Ladders

•	Gripping safety feet in place and secure on ladders.

•	All parts and fittings on ladders are secure.

•	Non-slip surfaces are in place on ladder rungs.

•    When setting ladder up, footing of ladder is secure on a firm, level, and non- skid surface and top of ladder is placed against a solid, stationary object.

•    All ladders in this facility must meet OSHA specifications for design and safety.

7.3.3   Loading Dock Areas

•    Dock blocks are up and in place when dock is not in immediate use.

•    Only trained loaders and unloaders perform loading and unloading duties in that area.

Page 7-1

GBI Insulation                           ________________safety program

•    Dock door is kept closed when a truck is not backed against it.

7.3.4   Platforms

•	Guardrails are in place and securely attached.

•	Toeboards are in place and secure.

•	All platforms in this facility must meet OSHA specifications for design and safety.

7.3.5   Floor and Wall Openings

•    All floor and wall openings are safely covered or blocked from access and marked with "hole" or "cover".

•    If not safely covered and blocked from access, the opening has someone assigned for constant attendance to it.

7.4 Work Procedures

•    All places of employment, passageways, storerooms, and service rooms shall be kept clean and orderly and in a sanitary condition.

•    The floor of every workroom shall be maintained in a clean and, so far as possible, a dry condition. Where wet processes are used, drainage shall be maintained, and false floors, platforms, mats, or other dry standing places should be provided where practicable.

•    To facilitate cleaning, every floor, working place, and passageway shall be kept free from protruding nails, splinters, holes, or loose boards.

•    If anyone of the conditions described in Pre-Work Check is not met for the area or piece of

equipment posing a potential fall hazard, then do not perform that work until the condition is met. If an employee cannot remedy the condition immediately, they should notify a supervisor of the problem and utilize a different piece of equipment or work in a different area, according to the situation.

•    If the situation calls for use off all protection devices, because the fall hazard cannot be reduced to a safe level, then the employee must don such protective equipment before beginning the work and use it as intended throughout the duration of the work.

•    Only employees trained in such work are expected to perform it.

7.5 Training Program

Under no circumstances shall an employee work in areas of high fall hazards, do work requiring fall protection devices, or use fall protection devices until he/she has successfully completed this Company's fall protection training program. This also includes all new employees, regardless of claimed previous experience.

The General Foreman will identify all new employees who require fall prevention training.

Individuals required to work in areas of high fall hazards shall receive further fall protection training. (HARNESS, LANYARD, ANCHORAGE AND ETC.) Classroom training consists of:

•    Review of these written procedures by employee.

Page 7-2

GBI Insulation                  ________________safety program

•    Review of fall protection training video.

•    Class room fall protection training

•    Successful completion of examination. Operational training consists of:

•    Pre-operational check

•    Operational review of use of lanyards and harnesses, accessing of areas with fall hazards.

•    Observation in work area to determine if employees fully understand requirements of fall protection training.

Page 7-3